## Report
Service Calls for January 2016
Job # | Loc ID | City | Description | CC# | Req Dt | Compl Dt | Days to Compl
323412 | RB1101 | El Centro | Christmas window paintings removed | 1101 | 2016-01-13 17:44 | 2016-01-14 12:19 | 0.77418
323625 | RB1101 | El Centro | Electrical entrance doors | 1101 | 2016-01-28 15:27
323635 | RB1102 | Holtville | Down Stairs Bathroom light switch | 1102 | 2016-02-01 08:37
323299 | RB1105 | Coachella | BLOCK WALL REPAIR PER QUO-47354 | 1105 | 2016-01-06 08:42
323483 | RB1107 | Indio | The $5.00 denomination is not dispensing | 1107 | 2016-01-19 11:12 | 2016-02-02 16:09 | 14.2066
323298 | RB1109 | Thousand Palms | Roof leak | 1109 | 2016-01-05 16:41 | 2016-01-05 12:57 | -0.156
323316 | RB1109 | Thousand Palms | roof leaked ceiling tiles damagedl | 1109 | 2016-01-06 15:14 | 2016-01-07 15:45 | 1.0221
323445 | RB1113-New | Palm Springs | Overheating server room | 1113 | 2016-01-15 11:06 | 2016-01-15 09:48 | -0.054711
323477 | RB1113-New | Palm Springs | ac in server room | 1113 | 2016-01-19 08:28 | 2016-01-19 09:49 | 0.056296
323400 | RB1135 | El Centro | Branch carpet replacement | 1135 | 2016-01-12 16:05
323490 | RB1136 | Brawley | new carpet | 1136 | 2016-01-19 14:22 | 2016-01-20 16:33 | 1.0913
323550 | RB1141 | Bakersfield | weird smell from AC | 1141 | 2016-01-22 12:41 | 2016-01-22 09:42 | -0.12454
323585 | RB1142 | Bakersfield | ENCLOSE ALCOVE PER QUO-47684 | 1142 | 2016-01-26 10:06
323643 | RB1142 | Bakersfield | Carpet and Tile Cleaning Needed | 1142 | 2016-02-01 10:34
323306 | RB1147 | Visalia | SEAL WINDOWS PER QUO-47449 | 1147 | 2016-01-06 12:02
323353 | RB1147 | Visalia | Shred bins are overflowing. | 1147 | 2016-01-07 16:59 | 2016-01-08 13:42 | 0.86313
323354 | RB1147 | Visalia | Steps need repair | 1147 | 2016-01-07 17:01 | 2016-01-08 09:24 | 0.68238
323504 | RB1147 | Visalia | Laminate Repair | 1147 | 2016-01-20 10:33
323565 | RB1147 | Visalia | Ice maker | 1147 | 2016-01-25 10:52
323543 | RB2049 | Moorpark | Broken Blind | 1151 | 2016-01-22 08:47
323586 | RB2049 | Moorpark | Install Stand/Sit Workstation | 1151 | 2016-01-26 10:09
323367 | RB1152 | Bakersfield | TCR Dispenser Error | 1152 | 2016-01-08 17:46 | 2016-01-12 14:41 | 3.8717
323427 | RB1160 | Reedley | Door Hinge | 1160 | 2016-01-14 08:57 | 2016-01-19 16:12 | 5.3019
323562 | RB1160 | Reedley | HVAC Unit | 1160 | 2016-01-25 09:46 | 2016-01-26 09:41 | 0.99676
323697 | RB1161 | Dinuba | Drain in womens restroom strong odor and full or water | 1161 | 2016-02-04 09:50
323293 | RB1166 | Salinas | Steam line water leak in basement | 1166 | 2016-01-05 15:59 | 2016-02-06 09:45 | 31.7402
323355 | RB1166 | Salinas | Sewer smell on the 3nd floor | 1166 | 2016-01-08 07:39 | 2016-01-11 11:19 | 3.153
323468 | RB1166 | Salinas | clean up of 6th floor mens restroom after hours | 1166 | 2016-01-18 11:57 | 2016-01-18 14:26 | 0.10287
323349 | RB1167 | King City | ATM Garbage Bin Broke | 1167 | 2016-01-07 15:03 | 2016-01-11 16:47 | 4.0722
323415 | RB1167 | King City | Quarterly pest control service | 1167 | 2016-01-14 08:08 | 2016-01-16 09:15 | 2.0468
323684 | RB1167 | King City | Sprinkler Box Broken | 1167 | 2016-02-03 12:33 | 2016-02-03 16:21 | 0.15845
323420 | RB1168 | Castroville | Quarterly pest control service | 1168 | 2016-01-14 08:10 | 2016-01-16 09:13 | 2.0438
323573 | RB1168 | Castroville | Mens Restroom Fan Out door Rabobank Sign light | 1168 | 2016-01-25 15:23
323417 | RB1169 | Gonzales | Quarterly pest control service | 1169 | 2016-01-14 08:09 | 2016-01-16 09:15 | 2.0456
323437 | RB1169 | Gonzales | Disposal Broken and Kitchen Sink Clogged | 1169 | 2016-01-14 15:42 | 2016-01-15 09:03 | 0.72237
323480 | RB1169 | Gonzales | New garbage disposal wiring doesnt have a ground on it. | 1169 | 2016-01-19 09:12
323689 | RB1169 | Gonzales | Exterior Rabobank Sign not working | 1169 | 2016-02-04 07:33
323305 | RB1170 | Salinas | request to wax new flooring | 1170 | 2016-01-06 11:51
323332 | RB1170 | Salinas | break down christmas tree | 1170 | 2016-01-07 09:41 | 2016-01-08 16:12 | 1.2712
323418 | RB1170 | Salinas | Quarterly pest control service | 1170 | 2016-01-14 08:09 | 2016-01-16 09:14 | 2.0448
323481 | RB1170 | Salinas | Branch front doors will not lock | 1170 | 2016-01-19 10:38
323530 | RB1170 | Salinas | Replace Front Lobby doors at the westridge Branch | 1170 | 2016-01-21 10:01 | 2016-01-26 09:00 | 4.9575
323584 | RB1170 | Salinas | Light in vault is out. | 1170 | 2016-01-26 10:05
323302 | RB1171 | Pacific Grove | leak in branch | 1171 | 2016-01-06 09:54 | 2016-01-06 10:32 | 0.026667
323421 | RB1171 | Pacific Grove | Quarterly pest control service | 1171 | 2016-01-14 08:10 | 2016-01-17 09:13 | 3.0432
323482 | RB1171 | Pacific Grove | Parking lot and sidewalk drains are clogged | 1171 | 2016-01-19 10:55 | 2016-01-22 09:12 | 2.929
323419 | RB1172 | Seaside | Quarterly pest control service | 1172 | 2016-01-14 08:10 | 2016-01-16 09:13 | 2.0443
323424 | RB1174 | Watsonville | Quarterly pest control service | 1174 | 2016-01-14 08:12 | 2016-01-17 08:37 | 3.0179
323423 | RB1175-NEW | HOLLISTER | Quarterly pest control service | 1175 | 2016-01-14 08:11 | 2016-01-17 08:38 | 3.0185
323595 | RB1175-NEW | HOLLISTER | Exterior Window Cleaning | 1175 | 2016-01-26 16:27
323627 | RB1175-NEW | HOLLISTER | Cleaning/Dusting | 1175 | 2016-01-29 08:23 | 2016-01-29 09:00 | 0.025984
323425 | RB1176 | Gilroy | Quarterly pest control service | 1176 | 2016-01-14 08:12 | 2016-01-17 08:37 | 3.0173
323520 | RB1176 | Gilroy | Urine on front of building | 1176 | 2016-01-20 18:39
323521 | RB1176 | Gilroy | Outside trash can | 1176 | 2016-01-20 18:43 | 2016-01-21 08:33 | 0.57677
323617 | RB1176 | Gilroy | Front canopy | 1176 | 2016-01-28 11:48
323618 | RB1176 | Gilroy | Bushes | 1176 | 2016-01-28 11:51
323422 | RB1177 | Monterey | Quarterly pest control service | 1177 | 2016-01-14 08:11 | 2016-01-17 09:12 | 3.0426
323416 | RB1178 | Soledad | Quarterly pest control service | 1178 | 2016-01-14 08:08 | 2016-01-16 09:15 | 2.0461
323426 | RB1179 | Santa Cruz | Quarterly pest control service | 1179 | 2016-01-14 08:13 | 2016-01-17 08:37 | 3.0168
323606 | RB1181 | Merced | Thermostat low batter | 1181 | 2016-01-27 10:41 | 2016-01-28 13:30 | 1.1176
323403 | RB1183 | Atwater | Gas smell | 1183 | 2016-01-13 09:54 | 2016-01-13 10:59 | 0.045058
323548 | RB1186 | Modesto | Roof leak | 1186 | 2016-01-22 11:50 | 2016-01-22 12:00 | 0.0069097
323549 | RB1186 | Modesto | Banner removal | 1186 | 2016-01-22 11:54 | 2016-01-28 13:44 | 6.0765
323411 | RB1189 | Napa | Downstairs Mens Restroom | 1189 | 2016-01-13 16:13 | 2016-01-14 16:06 | 0.99517
323440 | RB1191 | Santa Rosa | Glass shattered. Needs to be replaced | 1191 | 2016-01-15 09:39
323630 | RB1191 | Santa Rosa | INSTALL WINDOW COVERINGS PER QUO-47448 | 1191 | 2016-01-29 15:00
323335 | RB2033 | Oxnard | Installation of workstation | 1222 | 2016-01-07 09:58 | 2016-01-19 14:02 | 12.1693
323602 | RB1483 | Arroyo Grande | Heater Issues | 1240 | 2016-01-27 09:42
323539 | RB1496 | ROSEVILLE | Hang whiteboard for Charlotte R. Village 8 Accounting | 1303 | 2016-01-21 16:50 | 2016-01-22 16:16 | 0.97683
323511 | RB1174 | Watsonville | MPOE requires repair | 1304 | 2016-01-20 15:06
323587 | RB2002 | Atascadero | Need Cabling | 1304 | 2016-01-26 11:08
323589 | RB2003 | Grover Beach | Need Cabling | 1304 | 2016-01-26 11:15
323590 | RB2010 | Paso Robles | Need cabling | 1304 | 2016-01-26 11:17
323591 | RB2016 | Morro Bay | Need Cabling | 1304 | 2016-01-26 11:19
323588 | RB2021 | Cayucos | Need Cabling | 1304 | 2016-01-26 11:11
323304 | RB1496 | ROSEVILLE | light bulbs needed | 1305 | 2016-01-06 11:47 | 2016-01-08 09:15 | 1.8944
323517 | RB1496 | ROSEVILLE | bulbs for lobby suite 350 | 1305 | 2016-01-20 16:11 | 2016-01-22 11:20 | 1.7976
323540 | RB1496 | ROSEVILLE | Moving boxes for a move | 1307 | 2016-01-21 17:57
323281 | RB1482 | Santa Maria | Flooring in kitchen needs to be striped/waxed | 1482 | 2016-01-05 10:50
323435 | RB1482 | Santa Maria | Carpet spots need to be cleaned | 1482 | 2016-01-14 11:53 | 2016-01-15 12:17 | 1.0169
323474 | RB1482 | Santa Maria | Log generator meter reading | 1482 | 2016-01-18 16:54 | 2016-02-04 10:00 | 16.7123
323356 | RB1483 | Arroyo Grande | leak in roof - bennett avenue - upstairs | 1483 | 2016-01-08 09:17 | 2016-01-08 12:37 | 0.13854
323432 | RB1483 | Arroyo Grande | toilet not flushing properly | 1483 | 2016-01-14 11:09 | 2016-01-14 08:05 | -0.12785
323494 | RB1483 | Arroyo Grande | water coming off the roof and drainage on the side of the building | 1483 | 2016-01-19 15:35 | 2016-01-20 16:09 | 1.0241
323527 | RB1483 | Arroyo Grande | Desk drawer stuck in open position- safety hazard | 1483 | 2016-01-21 08:31 | 2016-01-21 14:13 | 0.23758
323653 | RB1483 | Arroyo Grande | Back door wont close | 1483 | 2016-02-02 08:16
323706 | RB1483 | Arroyo Grande | Water dispenser leaking | 1483 | 2016-02-04 16:18
323598 | RB1496 | ROSEVILLE | Per Don Miley-take items to storage unit | 1496 | 2016-01-27 07:51
323694 | RB1496 | ROSEVILLE | Per Don Miley Storage rental-Recurring | 1496 | 2016-02-04 09:04
323331 | RB1498 | Imperial | Server A/C unit not working | 1498 | 2016-01-07 09:28 | 2016-01-07 11:04 | 0.06691
323515 | RB1496 | ROSEVILLE | installation of white board | 1509 | 2016-01-20 15:41
323594 | RB92437 | Ventura | Window Cleaning | 1509 | 2016-01-26 15:09
323502 | RB92437 | Ventura | Flickering overhead lights | 1516 | 2016-01-20 10:05 | 2016-01-21 14:12 | 1.1716
323563 | RB92437 | Ventura | Key dropped in elevator opening | 1516 | 2016-01-25 10:31
323308 | RB2001 | Arroyo Grande | the plants died in one of our planters at the front door! | 2001 | 2016-01-06 12:39 | 2016-01-14 11:49 | 7.9655
323309 | RB2001 | Arroyo Grande | Bricks saftey hazard at street next to sidewalk | 2001 | 2016-01-06 12:42 | 2016-01-12 07:42 | 5.7921
323451 | RB2001 | Arroyo Grande | we need our very large Christmas tree taken down and packed up and put upstairs | 2001 | 2016-01-15 16:21 | 2016-01-19 09:35 | 3.7178
323454 | RB2001 | Arroyo Grande | we have a banner outside that needs to come down | 2001 | 2016-01-15 16:25 | 2016-01-19 09:42 | 3.7202
323574 | RB2001 | Arroyo Grande | our signs on the doors and drive up still reflect that we are open Saturday. | 2001 | 2016-01-25 15:47 | 2016-01-26 12:32 | 0.86454
323575 | RB2001 | Arroyo Grande | there is a lifted segment of cement on the grand av sidewalk it is a saftey hazard | 2001 | 2016-01-25 15:50 | 2016-01-29 08:38 | 3.7001
323576 | RB2001 | Arroyo Grande | tree branch touching the roof on the grand ave side of bank | 2001 | 2016-01-25 15:50
323577 | RB2001 | Arroyo Grande | trench is forming in drive up | 2001 | 2016-01-25 15:53
323597 | RB2001 | Arroyo Grande | wall is peeling in womens restroom at the bottom where the paper towel holder is on the wall | 2001 | 2016-01-26 16:46 | 2016-02-02 14:32 | 6.9073
323486 | RB2002 | Atascadero | Grate Clog | 2002 | 2016-01-19 11:49 | 2016-01-19 13:38 | 0.075718
323581 | RB2002 | Atascadero | Door hours | 2002 | 2016-01-25 17:27 | 2016-01-26 12:32 | 0.79539
323297 | RB2003 | Grover Beach | painting behind teller line | 2003 | 2016-01-05 16:40 | 2016-01-06 14:49 | 0.92317
323314 | RB2003 | Grover Beach | landscaping issues | 2003 | 2016-01-06 14:43
323315 | RB2003 | Grover Beach | painting in lobby | 2003 | 2016-01-06 14:46 | 2016-01-07 14:47 | 1.0009
323345 | RB2003 | Grover Beach | new signage needed for parking lots | 2003 | 2016-01-07 14:33 | 2016-02-02 09:57 | 25.8081
323352 | RB2003 | Grover Beach | paint cracked and faded wall adjacent to lobby/platform | 2003 | 2016-01-07 16:55 | 2016-01-14 12:25 | 6.8127
323360 | RB2003 | Grover Beach | filters dirty upstairs off lobby area heavy dust | 2003 | 2016-01-08 12:06 | 2016-01-14 12:27 | 6.0141
323393 | RB2003 | Grover Beach | clogged upstairs womenstoilet | 2003 | 2016-01-11 15:55 | 2016-01-12 09:14 | 0.72155
323601 | RB2003 | Grover Beach | coffee maker leaking and needs repair/service | 2003 | 2016-01-27 08:34
323695 | RB2003 | Grover Beach | front doors to branch along grand entrance need adjustment | 2003 | 2016-02-04 09:19
323696 | RB2003 | Grover Beach | remove two file cabinets/6 chairs approved by larry borges in facilities | 2003 | 2016-02-04 09:21 | 2016-02-05 09:58 | 1.0259
323322 | RB2004 | Goleta | Coordination of water purification | 2004 | 2016-01-07 07:44 | 2016-01-07 11:26 | 0.15392
323529 | RB2004 | Goleta | Lighting around ATM | 2004 | 2016-01-21 08:56
323582 | RB2004 | Goleta | Clogged sink | 2004 | 2016-01-26 09:06 | 2016-01-29 11:18 | 3.0915
323290 | RB2005 | Santa Maria | Merchant window removal | 2005 | 2016-01-05 15:30
323374 | RB2005 | Santa Maria | Kitchen sink clogged | 2005 | 2016-01-11 08:42 | 2016-01-11 14:47 | 0.25329
323487 | RB2006 | Santa Maria | Front door handicap door | 2006 | 2016-01-19 13:48 | 2016-01-19 16:11 | 0.099248
323538 | RB2006 | Santa Maria | Palm tree triming | 2006 | 2016-01-21 14:51 | 2016-01-21 15:42 | 0.035394
323564 | RB2006 | Santa Maria | Would Like Bill to come out | 2006 | 2016-01-25 10:33
323603 | RB2006 | Santa Maria | Thermostat screen blank | 2006 | 2016-01-27 10:01 | 2016-01-28 11:33 | 1.0639
323672 | RB2006 | Santa Maria | Thermostat | 2006 | 2016-02-02 15:22
323365 | RB2007 | San Luis Obispo | signage | 2007 | 2016-01-08 17:06 | 2016-01-14 09:34 | 5.6865
323366 | RB2007 | San Luis Obispo | Depost Slip encoder | 2007 | 2016-01-08 17:09 | 2016-01-27 16:10 | 18.9595
323407 | RB2007 | San Luis Obispo | Flooring | 2007 | 2016-01-13 13:18 | 2016-02-05 09:57 | 22.8606
323566 | RB2007 | San Luis Obispo | Garbage area clean-up | 2007 | 2016-01-25 11:31 | 2016-01-25 16:37 | 0.21273
323592 | RB2007 | San Luis Obispo | Clean Dumpster Area | 2007 | 2016-01-26 11:27
323327 | RB2009 | Santa Barbara | Roof repair | 2009 | 2016-01-07 08:29 | 2016-01-14 10:01 | 7.0641
323329 | RB2009 | Santa Barbara | Clean up ceiling debris that fell due to roof leak | 2009 | 2016-01-07 08:32
323491 | RB2011 | Santa Maria | Parade of Light decorations need to be moved upstairs | 2011 | 2016-01-19 15:04 | 2016-01-20 16:10 | 1.0458
323642 | RB2011 | Santa Maria | Leaking valve needs to be replaced | 2011 | 2016-02-01 10:27 | 2016-02-05 16:22 | 4.2465
323676 | RB2011 | Santa Maria | Approval to add bark in various areas | 2011 | 2016-02-03 09:53 | 2016-02-05 16:21 | 2.269
323282 | RB2012 | Cambria | Stickers | 2012 | 2016-01-05 12:01
323467 | RB2012 | Cambria | Coordination of water purification | 2012 | 2016-01-18 11:43 | 2016-01-20 16:21 | 2.1934
323338 | RB2013 | Lompoc | Roof Leak | 2013 | 2016-01-07 12:28 | 2016-01-07 14:46 | 0.096076
323528 | RB2013 | Lompoc | Coordination of water purification | 2013 | 2016-01-21 08:31
323501 | RB2015 | San Luis Obispo | Lane 2 - Drive Up | 2015 | 2016-01-20 09:39 | 2016-01-21 11:21 | 1.0709
323523 | RB2015 | San Luis Obispo | System Check | 2015 | 2016-01-21 08:23
323705 | RB2015 | San Luis Obispo | Remove Saturday Hours on doors | 2015 | 2016-02-04 16:05 | 2016-02-05 09:43 | 0.73483
323385 | RB2016 | Morro Bay | break room thermostat not working | 2016 | 2016-01-11 11:26
323465 | RB2016 | Morro Bay | Coordination of water purification | 2016 | 2016-01-18 11:42 | 2016-01-20 16:21 | 2.1944
323469 | RB2016 | Morro Bay | Replace inducer motor to Amana unit | 2016 | 2016-01-18 12:20
323525 | RB2017 | Solvang | Coordination of water purification | 2017 | 2016-01-21 08:30
323301 | RB2018 | Buellton | Roof Leak | 2018 | 2016-01-06 08:59 | 2016-01-06 14:55 | 0.24759
323526 | RB2018 | Buellton | Coordination of water purification | 2018 | 2016-01-21 08:30
323413 | RB2019 | Santa Ynez | Backflow testing needed | 2019 | 2016-01-14 07:58 | 2016-01-15 12:20 | 1.1822
323524 | RB2019 | Santa Ynez | Coordination of water purification | 2019 | 2016-01-21 08:30
323328 | RB2020 | Los Osos | We need the Saturday Hours removed from all of our doors/windows | 2020 | 2016-01-07 08:30 | 2016-01-07 08:35 | 0.0031829
323464 | RB2020 | Los Osos | Coordination of water purification | 2020 | 2016-01-18 11:41 | 2016-01-20 16:22 | 2.1948
323519 | RB2020 | Los Osos | Water leaking into Telecom Lines | 2020 | 2016-01-20 16:45 | 2016-01-21 09:14 | 0.68708
323284 | RB2021 | Cayucos | Roof leak shorted out all computers | 2021 | 2016-01-05 13:34 | 2016-02-08 11:19 | 33.9057
323288 | RB2021 | Cayucos | All computers shorted out due to rain | 2021 | 2016-01-05 14:49 | 2016-01-05 15:07 | 0.012998
323466 | RB2021 | Cayucos | Coordination of water purification | 2021 | 2016-01-18 11:42 | 2016-01-20 16:21 | 2.1939
323610 | RB2022 | Pismo Beach | replace/remove items | 2022 | 2016-01-28 09:55
323640 | RB2022 | Pismo Beach | Sprinklers | 2022 | 2016-02-01 10:02
323641 | RB2022 | Pismo Beach | Window Cleaning | 2022 | 2016-02-01 10:05
323404 | RB2023 | Pismo Beach | Install new MFD capacitor | 2023 | 2016-01-13 09:56
323644 | RB2023 | Pismo Beach | Big Rabobank Sign block has fallen over | 2023 | 2016-02-01 11:16 | 2016-02-01 14:13 | 0.12289
323649 | RB2023 | Pismo Beach | MONUMENT SIGN KNOCKED DOWN | 2023 | 2016-02-01 14:18 | 2016-02-05 16:21 | 4.0855
323661 | RB2023 | Pismo Beach | Need to have Outside Windows cleaned | 2023 | 2016-02-02 10:08
323414 | RB2025 | Santa Maria | Backflow testing needed | 2025 | 2016-01-14 08:00 | 2016-01-15 12:19 | 1.1804
323429 | RB2026 | Santa Maria | 3 of the Ceiling Lights have water in them from rain. | 2026 | 2016-01-14 10:06 | 2016-01-15 14:17 | 1.1739
323430 | RB2026 | Santa Maria | Stucco on ceiling has moisture in it in the walkway in lobby. | 2026 | 2016-01-14 10:24 | 2016-01-15 16:38 | 1.2592
323659 | RB2028 | Guadalupe | Heater Broken | 2028 | 2016-02-02 09:44 | 2016-02-02 07:36 | -0.088449
323283 | RB2029 | Templeton | Water leaking onto ATM machine | 2029 | 2016-01-05 12:29 | 2016-01-08 14:43 | 3.093
323384 | RB2030 | Santa Barbara | Light Bulb Replacement | 2030 | 2016-01-11 10:45 | 2016-01-15 14:46 | 4.1672
323388 | RB2030 | Santa Barbara | Changing Light Bulb | 2030 | 2016-01-11 12:26 | 2016-01-12 10:05 | 0.90219
323339 | RB2031 | Santa Barbara | Tree branch clearing | 2031 | 2016-01-07 12:49 | 2016-01-15 08:34 | 7.8226
323629 | RB2031 | Santa Barbara | Lighting fixture opened | 2031 | 2016-01-29 13:55
323330 | RB2033 | Oxnard | toilet | 2033 | 2016-01-07 09:28 | 2016-01-15 14:32 | 8.2111
323325 | RB2036 | Camarillo | Coordination of water purification | 2036 | 2016-01-07 07:45 | 2016-01-07 11:26 | 0.15363
323344 | RB2036 | Camarillo | Remove Decals from glass doors and window | 2036 | 2016-01-07 14:29 | 2016-01-11 16:23 | 4.079
323479 | RB2036 | Camarillo | Kitchen Sink | 2036 | 2016-01-19 08:51 | 2016-01-19 09:12 | 0.014155
323626 | RB2036 | Camarillo | Glass windows and doors to office | 2036 | 2016-01-29 08:17 | 2016-02-02 13:38 | 4.2225
323381 | RB2037 | Ventura | Water | 2037 | 2016-01-11 10:24 | 2016-01-12 09:15 | 0.95247
323560 | RB2037 | Ventura | Removal of Sat hour on the door window | 2037 | 2016-01-25 09:22 | 2016-01-28 09:24 | 3.0015
323578 | RB2037 | Ventura | 3 point lock on door not working. | 2037 | 2016-01-25 16:37
323677 | RB2037 | Ventura | Replace ignition control board | 2037 | 2016-02-03 10:10
323391 | RB2038 | Ventura | roof leaks | 2038 | 2016-01-11 13:18 | 2016-01-12 08:25 | 0.79669
323395 | RB2038 | Ventura | kitchen area | 2038 | 2016-01-12 11:22 | 2016-01-14 16:47 | 2.2257
323441 | RB2038 | Ventura | lighting above vault | 2038 | 2016-01-15 10:27 | 2016-01-19 13:39 | 4.1332
323382 | RB2040 | Oxnard | ELEVATOR NOT WORKING | 2040 | 2016-01-11 10:24 | 2016-01-13 11:44 | 2.0556
323313 | RB2041 | Ojai | Leaking Roof | 2041 | 2016-01-06 13:48 | 2016-01-08 14:02 | 2.0103
323324 | RB2041 | Ojai | Coordination of water purification | 2041 | 2016-01-07 07:45 | 2016-01-07 11:26 | 0.15359
323346 | RB2041 | Ojai | Downstairs toilets backed up | 2041 | 2016-01-07 14:40 | 2016-01-08 12:20 | 0.90243
323711 | RB2041 | Ojai | Water purifier not working | 2041 | 2016-02-05 10:06
323295 | RB2042 | Oak View | Light over ATM | 2042 | 2016-01-05 16:11 | 2016-01-06 16:28 | 1.0116
323296 | RB2042 | Oak View | Ceiling leaking in backroom | 2042 | 2016-01-05 16:12 | 2016-01-06 16:28 | 1.0109
323323 | RB2042 | Oak View | Coordination of water purification | 2042 | 2016-01-07 07:44 | 2016-01-07 11:26 | 0.15377
323319 | RB2043-NEW | WESTLAKE VILLAGE | Coordination of water purification | 2043 | 2016-01-07 07:42 | 2016-01-07 11:25 | 0.15485
323498 | RB2043-NEW | WESTLAKE VILLAGE | Additional restroom clean up due to overflowing toilet | 2043 | 2016-01-20 07:36 | 2016-01-20 08:42 | 0.045822
323499 | RB2043-NEW | WESTLAKE VILLAGE | Toilet overflowed last night. Out of order sign posted | 2043 | 2016-01-20 07:37 | 2016-01-26 11:18 | 6.1535
323320 | RB2049 | Moorpark | Coordination of water purification | 2049 | 2016-01-07 07:43 | 2016-01-07 11:25 | 0.1544
323514 | RB2049 | Moorpark | Credenza Movement and Signage needs to be up. | 2049 | 2016-01-20 15:33 | 2016-01-28 09:29 | 7.7474
323321 | RB2050 | Carpinteria | Coordination of water purification | 2050 | 2016-01-07 07:44 | 2016-01-07 11:25 | 0.15416
323681 | RB1166 | Salinas | Relocate equipment from Salinas to Arroyo Grande | 2304 | 2016-02-03 12:13
323455 | RB1482 | Santa Maria | Relocate Desk and Change Return on Desk | 2304 | 2016-01-15 18:29 | 2016-01-19 16:11 | 3.9044
323571 | RB1502 | Palm Desert | Relocate material from Palm Desert to Arroyo Grande | 2304 | 2016-01-25 15:10
323569 | RB2040 | Oxnard | Relocate Equipment from Oxnard to Arroyo Grande | 2304 | 2016-01-25 15:05 | 2016-02-04 16:17 | 10.0498
323312 | RB2306 | Arroyo Grande | Can no longer maintain the server room temperature below 69 degrees | 2304 | 2016-01-06 13:25 | 2016-01-15 09:55 | 8.854
323542 | RB1482 | Santa Maria | HVAC Heating Issue | 2380 | 2016-01-22 08:21 | 2016-01-22 13:41 | 0.22269
323568 | RB1482 | Santa Maria | Loan file room door is warped and needs replacing. | 2380 | 2016-01-25 14:45
323310 | RB2800 | Paradise | Gutters are clogged | 2800 | 2016-01-06 13:15 | 2016-01-07 16:10 | 1.1217
323351 | RB2801 | Oroville | Check and clean roof drains and gutters. | 2801 | 2016-01-07 15:20 | 2016-01-07 16:12 | 0.036169
323390 | RB2801 | Oroville | bathroom | 2801 | 2016-01-11 13:01 | 2016-01-11 14:47 | 0.073773
323631 | RB2801 | Oroville | There is a stopper sticking up out of the ground by rear entry door that is a tripping hazard | 2801 | 2016-01-29 16:08 | 2016-02-02 16:26 | 4.0123
323558 | RB2804 | Yuba City | Standing water on roof causing roof leak | 2804 | 2016-01-25 09:17
323662 | RB2804 | Yuba City | BackFlow | 2804 | 2016-02-02 11:01
323402 | RB2806 | Chico | Annual HVAC Maintenance to be done January 2016 | 2806 | 2016-01-13 09:19
323409 | RB2808 | Red Bluff | Gust of wind blew our Rabo man off the back of the building | 2808 | 2016-01-13 14:49 | 2016-01-14 10:11 | 0.80704
323537 | RB2808 | Red Bluff | Install new Rabo man logo that was blown away by wind | 2808 | 2016-01-21 13:56 | 2016-02-05 13:50 | 14.996
323552 | RB2808 | Red Bluff | Roof is leaking. The heater is not working in the Community Room | 2808 | 2016-01-22 16:38
323557 | RB2808 | Red Bluff | THE HEATER IN THE COMMUNITY ROOM IS NOT WORKING | 2808 | 2016-01-25 08:58 | 2016-01-25 09:55 | 0.039606
323678 | RB2809 | Marysville | High wind damage to building signage | 2809 | 2016-02-03 11:02
323357 | RB2811 | Corning | Move Desk from behind teller line to platform | 2811 | 2016-01-08 09:29 | 2016-01-21 10:17 | 13.0333
323358 | RB2811 | Corning | Lobby Floor Cleaning | 2811 | 2016-01-08 09:32 | 2016-01-15 09:14 | 6.9879
323438 | RB2811 | Corning | Parking Lot Pole Lights/Drive Up Lights are out | 2811 | 2016-01-15 08:09
323456 | RB2814 | Stockton | Branch closure | 2814 | 2016-01-18 08:22
323457 | RB2814 | Stockton | Final clean up due to branch closure | 2814 | 2016-01-18 08:22 | 2016-01-25 07:38 | 6.9692
323376 | RB2818 | Arnold | branch closure | 2818 | 2016-01-11 08:52 | 2016-02-07 08:36 | 26.9891
323377 | RB2818 | Arnold | Final cleaning | 2818 | 2016-01-11 08:52 | 2016-01-19 08:25 | 7.9811
323350 | RB2822 | Lodi | Install trespassing signs | 2822 | 2016-01-07 15:19 | 2016-01-07 16:10 | 0.035544
323399 | RB2822 | Lodi | Remove Home Equity Sign from front of building | 2822 | 2016-01-12 16:03 | 2016-01-25 16:13 | 13.0069
323495 | RB2822 | Lodi | Womens Toilet | 2822 | 2016-01-19 16:41 | 2016-01-20 09:13 | 0.68924
323496 | RB2822 | Lodi | Front door / Drive up lighting | 2822 | 2016-01-19 16:42 | 2016-01-21 10:33 | 1.7436
323645 | RB2822 | Lodi | Move and Build 2 Medal shelves into the ATM | 2822 | 2016-02-01 11:20
323392 | RB1305 | Granite Bay | Door Bell and Bathroom Toilets | 4223 | 2016-01-11 14:58 | 2016-01-13 16:11 | 2.0508
323343 | RB92433 | Oxnard | Shred box door is off hinge and full. | 4270 | 2016-01-07 14:08 | 2016-01-07 15:21 | 0.050289
323446 | RB2011 | Santa Maria | Womens toilet in the AG dept not working again | 4286 | 2016-01-15 14:33 | 2016-01-19 08:06 | 3.7308
323691 | RB92011 | SANTA MARIA | womens restroom | 4286 | 2016-02-04 08:35 | 2016-02-04 09:06 | 0.021088
323692 | RB92011 | SANTA MARIA | kitchen floor | 4286 | 2016-02-04 08:37
323693 | RB92011 | SANTA MARIA | removal of miscellaneous | 4286 | 2016-02-04 08:42
323398 | RB2030 | Santa Barbara | MOVING OF FILE CABINETS | 6001 | 2016-01-12 14:54 | 2016-01-15 16:13 | 3.0548
323658 | RB1496 | ROSEVILLE | Installation of Zee Medical Box | 1300 Training Cente | 2016-02-02 09:08
323655 | RB1496 | ROSEVILLE | Moving boxes to Lisas new office | 1307 Lisa Johnson | 2016-02-02 08:59
323656 | RB1496 | ROSEVILLE | Move boxes to new space for Rob Ribero | 1307 Rob Ribero | 2016-02-02 09:00
323485 | RB1496 | ROSEVILLE | workstation installation | 1307 Debi Ravareau | 2016-01-19 11:30 | 2016-01-21 11:20 | 1.9932
323516 | RB1496 | ROSEVILLE | drill out lock on lockbox | 1307 Kristie Rosetti | 2016-01-20 15:50
323609 | RB1496 | ROSEVILLE | key board tray removal | 1310 Brent Sorenson | 2016-01-27 15:39
323657 | RB1496 | ROSEVILLE | Remove key board tray | 1310 Brett Sorenson | 2016-02-02 09:06
323660 | RB1482 | Santa Maria | Move boxes one location to another | 1325 Elaine Preston | 2016-02-02 10:06
323709 | RB91152 | Bakersfield | Roof leaks/heavy rains | 1522-whole building | 2016-02-05 09:42